## 1. LICENCE
Creative Commons licenses give everyone from individual creators to large institutions a standardized way to grant the public permission to use their creative work under copyright law. From the reuser’s perspective, the presence of a Creative Commons license on a copyrighted work answers the question, “What can I do with this work?” | Creative Commons licenses | Explanation | Elements | This work is licensed under a [pick one]
| CC BY | This license allows reusers to distribute, remix, adapt, and build upon the material in any medium or format, so long as attribution is given to the creator. The license allows for commercial use. | BY – Credit must be given to the creator
| CC BY-SA | This license allows reusers to distribute, remix, adapt, and build upon the material in any medium or format, so long as attribution is given to the creator. The license allows for commercial use. If you remix, adapt, or build upon the material, you must license the modified material under identical terms. | BY – Credit must be given to the creator SA – Adaptations must be shared under the same terms
| CC BY-NC | This license allows reusers to distribute, remix, adapt, and build upon the material in any medium or format for noncommercial purposes only, and only so long as attribution is given to the creator. | BY – Credit must be given to the creator NC – Only noncommercial uses of the work are permitted
| CC BY-NC-SA | This license allows reusers to distribute, remix, adapt, and build upon the material in any medium or format for noncommercial purposes only, and only so long as attribution is given to the creator. If you remix, adapt, or build upon the material, you must license the modified material under identical terms. | BY – Credit must be given to the creator NC – Only noncommercial uses of the work are permitted SA – Adaptations must be shared under the same terms
| CC BY-ND | This license allows reusers to copy and distribute the material in any medium or format in unadapted form only, and only so long as attribution is given to the creator. The license allows for commercial use. | BY – Credit must be given to the creator ND – No derivatives or adaptations of the work are permitted
| CC BY-NC-ND | This license allows reusers to copy and distribute the material in any medium or format in unadapted form only, for noncommercial purposes only, and only so long as attribution is given to the creator. | BY – Credit must be given to the creator NC – Only noncommercial uses of the work are permitted ND – No derivatives or adaptations of the work are permitted | X

## 2. Publication
DOI | Title | Journal | Year | Volume | Issue | Pages | ContactAuthor | Keywords | Abstract | PublishStatus | CurationStatus | CurationNote | EmbargoStatus
https://www.repository.unipr.it/handle/1889/4876 | Nano-photocatalysts: design, up-scale and characterization model | [5 empty] | Faccani, Lara

## 3.Institution
ID_Institution | Department | Institution | City | State | Zipcode | Country
1 | CNR-ISSMC Istituto di Scienza, Tecnologia e Sostenibilitá per lo sviluppo dei Materiali Ceramici | Consiglio Nazionale delle Ricerche - CNR | Faenza | Italy | 48018 | Italy

## 4. Creators
Lastname | Middlename | Firstname | Email | Web
Faccani |  | Lara | lara.faccani@issmc.cnr.it | https://www.issmc.cnr.it/

## 5.Measurements
Material | dDLS_nm | Z_Pot_mV | pH_Suspension | pH_isoelectr_point | shape | band_gap_eV | Conditions | Time_min | A | A/A0 | Eff % | ln(A0/A) | mol of product | mol of active phase | TOF (mol product/seconds at 2h)/mol active
graphitic carbon nitrides (g‐C3N4) | > 6000 | -22 | 5 | 2.2 | spherical | 2.7 | UV_LIGHT | 15 | 1.288 | 0.95833 | 4.1667 | 0.04256 | 0.00029167 | 0.000163 | 0.00024852
graphitic carbon nitrides (g‐C3N4) | > 6000 | -22 | 5 | 2.2 | spherical | 2.7 | UV_LIGHT | 30 | 1.238 | 0.92113 | 7.8869 | 0.082153 | 0.00055208 | 0.000163 | 0.00047042
graphitic carbon nitrides (g‐C3N4) | > 6000 | -22 | 5 | 2.2 | spherical | 2.7 | UV_LIGHT | 60 | 1.133 | 0.84301 | 15.6994 | 0.17078 | 0.001099 | 0.000163 | 0.0009364
graphitic carbon nitrides (g‐C3N4) | > 6000 | -22 | 5 | 2.2 | spherical | 2.7 | UV_LIGHT | 90 | 1.015 | 0.75521 | 24.4792 | 0.28076 | 0.0017135 | 0.000163 | 0.0014601
graphitic carbon nitrides (g‐C3N4) | > 6000 | -22 | 5 | 2.2 | spherical | 2.7 | UV_LIGHT | 120 | 0.92 | 0.68452 | 31.5476 | 0.37903 | 0.0022083 | 0.000163 | 0.0018817
graphitic carbon nitrides (g‐C3N4) | > 6000 | -22 | 5 | 2.2 | spherical | 2.7 | Visible_LIGHT | 15 | 1.346 | 0.98034 | 1.9665 | 0.019861 | 0.00013765 | 0.00016 | 0.00011949
graphitic carbon nitrides (g‐C3N4) | > 6000 | -22 | 5 | 2.2 | spherical | 2.7 | Visible_LIGHT | 30 | 1.3 | 0.94683 | 5.3168 | 0.054634 | 0.00037218 | 0.00016 | 0.00032307
graphitic carbon nitrides (g‐C3N4) | > 6000 | -22 | 5 | 2.2 | spherical | 2.7 | Visible_LIGHT | 60 | 1.234 | 0.89876 | 10.1238 | 0.10674 | 0.00070867 | 0.00016 | 0.00061516
graphitic carbon nitrides (g‐C3N4) | > 6000 | -22 | 5 | 2.2 | spherical | 2.7 | Visible_LIGHT | 90 | 1.156 | 0.84195 | 15.8048 | 0.17203 | 0.0011063 | 0.00016 | 0.00096036
graphitic carbon nitrides (g‐C3N4) | > 6000 | -22 | 5 | 2.2 | spherical | 2.7 | Visible_LIGHT | 120 | 1.09 | 0.79388 | 20.6118 | 0.23082 | 0.0014428 | 0.00016 | 0.0012525
GO_US (control) | 5203 | -28 | 5 | ? | cuboid | ? | UV_LIGHT | 15 | 0.327 | 0.89101 | 10.8992 | 0.1154 | 0.00076294 | 0 | 0
GO_US (control) | 5203 | -28 | 5 | ? | cuboid | ? | UV_LIGHT | 30 | 0.281 | 0.76567 | 23.4332 | 0.26701 | 0.0016403 | 0 | 0
GO_US (control) | 5203 | -28 | 5 | ? | cuboid | ? | UV_LIGHT | 60 | 0.24 | 0.65395 | 34.6049 | 0.42472 | 0.0024223 | 0 | 0
GO_US (control) | 5203 | -28 | 5 | ? | cuboid | ? | UV_LIGHT | 90 | 0.211 | 0.57493 | 42.5068 | 0.5535 | 0.0029755 | 0 | 0
GO_US (control) | 5203 | -28 | 5 | ? | cuboid | ? | UV_LIGHT | 120 | 0.194 | 0.52861 | 47.139 | 0.6375 | 0.0032997 | 0 | 0
GO_US (control) | 5203 | -28 | 5 | ? | cuboid | ? | Visible_LIGHT | 15 | 0.314 | 0.86264 | 13.7363 | 0.14776 | 0.00096154 | 0 | 0
GO_US (control) | 5203 | -28 | 5 | ? | cuboid | ? | Visible_LIGHT | 30 | 0.242 | 0.66484 | 33.5165 | 0.40822 | 0.0023462 | 0 | 0
GO_US (control) | 5203 | -28 | 5 | ? | cuboid | ? | Visible_LIGHT | 60 | 0.166 | 0.45604 | 54.3956 | 0.78517 | 0.0038077 | 0 | 0
GO_US (control) | 5203 | -28 | 5 | ? | cuboid | ? | Visible_LIGHT | 90 | 0.131 | 0.35989 | 64.011 | 1.022 | 0.0044808 | 0 | 0
GO_US (control) | 5203 | -28 | 5 | ? | cuboid | ? | Visible_LIGHT | 120 | 0.106 | 0.29121 | 70.8791 | 1.2337 | 0.0049615 | 0 | 0
RhB | ? | ? | ? | ? | ? | ? | UV_LIGHT | 15 | 1.428 | 0.9993 | 0.069979 | 0.00070004 | 4.8985e-06 | 0 | 0
RhB | ? | ? | ? | ? | ? | ? | UV_LIGHT | 30 | 1.367 | 0.95661 | 4.3387 | 0.044356 | 0.00030371 | 0 | 0
RhB | ? | ? | ? | ? | ? | ? | UV_LIGHT | 60 | 1.399 | 0.97901 | 2.0994 | 0.021217 | 0.00014696 | 0 | 0
RhB | ? | ? | ? | ? | ? | ? | UV_LIGHT | 90 | 1.382 | 0.96711 | 3.289 | 0.033443 | 0.00023023 | 0 | 0
RhB | ? | ? | ? | ? | ? | ? | UV_LIGHT | 120 | 1.394 | 0.97551 | 2.4493 | 0.024798 | 0.00017145 | 0 | 0
RhB | ? | ? | ? | ? | ? | ? | Visible_LIGHT | 15 | 1.367 | 0.96813 | 3.187 | 0.032389 | 0.00022309 | 0 | 0
RhB | ? | ? | ? | ? | ? | ? | Visible_LIGHT | 30 | 1.374 | 0.97309 | 2.6912 | 0.027281 | 0.00018839 | 0 | 0
RhB | ? | ? | ? | ? | ? | ? | Visible_LIGHT | 60 | 1.357 | 0.96105 | 3.8952 | 0.039731 | 0.00027266 | 0 | 0
RhB | ? | ? | ? | ? | ? | ? | Visible_LIGHT | 90 | 1.374 | 0.97309 | 2.6912 | 0.027281 | 0.00018839 | 0 | 0
RhB | ? | ? | ? | ? | ? | ? | Visible_LIGHT | 120 | 1.372 | 0.97167 | 2.8329 | 0.028738 | 0.0001983 | 0 | 0
TAC | 27 | 36 | 1.5 | 7.7 | spherical | 3.1 | UV_LIGHT | 15 | 0.588 | 0.43235 | 56.7647 | 0.83851 | 0.0039735 | 0.000188 | 0.0029355
TAC | 27 | 36 | 1.5 | 7.7 | spherical | 3.1 | UV_LIGHT | 30 | 0.187 | 0.1375 | 86.25 | 1.9841 | 0.0060375 | 0.000188 | 0.0044603
TAC | 27 | 36 | 1.5 | 7.7 | spherical | 3.1 | UV_LIGHT | 60 | 0.153 | 0.1125 | 88.75 | 2.1848 | 0.0062125 | 0.000188 | 0.0045896
TAC | 27 | 36 | 1.5 | 7.7 | spherical | 3.1 | UV_LIGHT | 90 | 0 | 0 | 100 | 0 | 0.007 | 0.000188 | 0.0051714
TAC | 27 | 36 | 1.5 | 7.7 | spherical | 3.1 | UV_LIGHT | 120 | 0 | 0 | 100 | 0 | 0.007 | 0.000188 | 0.0051714
TAC | 27 | 36 | 1.5 | 7.7 | spherical | 3.1 | Visible_LIGHT | 15 | 0.843 | 0.58178 | 41.8219 | 0.54166 | 0.0029275 | 0.00019 | 0.00214
TAC | 27 | 36 | 1.5 | 7.7 | spherical | 3.1 | Visible_LIGHT | 30 | 0.227 | 0.15666 | 84.334 | 1.8537 | 0.0059034 | 0.00019 | 0.0043153
TAC | 27 | 36 | 1.5 | 7.7 | spherical | 3.1 | Visible_LIGHT | 60 | 0.184 | 0.12698 | 87.3016 | 2.0637 | 0.0061111 | 0.00019 | 0.0044672
TAC | 27 | 36 | 1.5 | 7.7 | spherical | 3.1 | Visible_LIGHT | 90 | 0 | 0 | 100 | 0 | 0.007 | 0.00019 | 0.005117
TAC | 27 | 36 | 1.5 | 7.7 | spherical | 3.1 | Visible_LIGHT | 120 | 0 | 0 | 100 | 0 | 0.007 | 0.00019 | 0.005117
composite materials: titanium dioxide – graphene oxide (TGO) | 2211 | -22 | 5.5 | 5.2 | cuboid; spherical | 3.2 | UV_LIGHT | 15 | 0.99 | 0.76804 | 23.1963 | 0.26392 | 0.0016237 | 0.000157 | 0.0014364
composite materials: titanium dioxide – graphene oxide (TGO) | 2211 | -22 | 5.5 | 5.2 | cuboid; spherical | 3.2 | UV_LIGHT | 30 | 0.801 | 0.62141 | 37.8588 | 0.47576 | 0.0026501 | 0.000157 | 0.0023444
composite materials: titanium dioxide – graphene oxide (TGO) | 2211 | -22 | 5.5 | 5.2 | cuboid; spherical | 3.2 | UV_LIGHT | 60 | 0.512 | 0.39721 | 60.2793 | 0.9233 | 0.0042196 | 0.000157 | 0.0037328
composite materials: titanium dioxide – graphene oxide (TGO) | 2211 | -22 | 5.5 | 5.2 | cuboid; spherical | 3.2 | UV_LIGHT | 90 | 0.324 | 0.25136 | 74.8642 | 1.3809 | 0.0052405 | 0.000157 | 0.004636
composite materials: titanium dioxide – graphene oxide (TGO) | 2211 | -22 | 5.5 | 5.2 | cuboid; spherical | 3.2 | UV_LIGHT | 120 | 0.189 | 0.14663 | 85.3375 | 1.9199 | 0.0059736 | 0.000157 | 0.0052845
composite materials: titanium dioxide – graphene oxide (TGO) | 2211 | -22 | 5.5 | 5.2 | cuboid; spherical | 3.2 | Visible_LIGHT | 15 | 1.12 | 0.8805 | 11.9497 | 0.12726 | 0.00083648 | 0.000157 | 0.00073998
composite materials: titanium dioxide – graphene oxide (TGO) | 2211 | -22 | 5.5 | 5.2 | cuboid; spherical | 3.2 | Visible_LIGHT | 30 | 1.005 | 0.79009 | 20.9906 | 0.2356 | 0.0014693 | 0.000157 | 0.0012998
composite materials: titanium dioxide – graphene oxide (TGO) | 2211 | -22 | 5.5 | 5.2 | cuboid; spherical | 3.2 | Visible_LIGHT | 60 | 0.804 | 0.63208 | 36.7925 | 0.45875 | 0.0025755 | 0.000157 | 0.0022784
composite materials: titanium dioxide – graphene oxide (TGO) | 2211 | -22 | 5.5 | 5.2 | cuboid; spherical | 3.2 | Visible_LIGHT | 90 | 0.653 | 0.51336 | 48.6635 | 0.66677 | 0.0034064 | 0.000157 | 0.0030135
composite materials: titanium dioxide – graphene oxide (TGO) | 2211 | -22 | 5.5 | 5.2 | cuboid; spherical | 3.2 | Visible_LIGHT | 120 | 0.521 | 0.40959 | 59.0409 | 0.8926 | 0.0041329 | 0.000157 | 0.0036561
TiO2 - DT51 - US | 1304 | -31 | 7.5 | 3.4 | spherical | 3.3 | UV_LIGHT | 15 | 1.158 | 0.84649 | 15.3509 | 0.16666 | 0.0010746 | 0.000188 | 0.00079385
TiO2 - DT51 - US | 1304 | -31 | 7.5 | 3.4 | spherical | 3.3 | UV_LIGHT | 30 | 1.033 | 0.75512 | 24.4883 | 0.28088 | 0.0017142 | 0.000188 | 0.0012664
TiO2 - DT51 - US | 1304 | -31 | 7.5 | 3.4 | spherical | 3.3 | UV_LIGHT | 60 | 0.824 | 0.60234 | 39.7661 | 0.50693 | 0.0027836 | 0.000188 | 0.0020565
TiO2 - DT51 - US | 1304 | -31 | 7.5 | 3.4 | spherical | 3.3 | UV_LIGHT | 90 | 0.644 | 0.47076 | 52.924 | 0.75341 | 0.0037047 | 0.000188 | 0.0027369
TiO2 - DT51 - US | 1304 | -31 | 7.5 | 3.4 | spherical | 3.3 | UV_LIGHT | 120 | 0.509 | 0.37208 | 62.7924 | 0.98866 | 0.0043955 | 0.000188 | 0.0032472
TiO2 - DT51 - US | 1304 | -31 | 7.5 | 3.4 | spherical | 3.3 | Visible_LIGHT | 15 | 1.154 | 0.85355 | 14.645 | 0.15835 | 0.0010251 | 0.000188 | 0.00075735
TiO2 - DT51 - US | 1304 | -31 | 7.5 | 3.4 | spherical | 3.3 | Visible_LIGHT | 30 | 1.103 | 0.81583 | 18.4172 | 0.20355 | 0.0012892 | 0.000188 | 0.00095242
TiO2 - DT51 - US | 1304 | -31 | 7.5 | 3.4 | spherical | 3.3 | Visible_LIGHT | 60 | 0.963 | 0.71228 | 28.7722 | 0.33929 | 0.0020141 | 0.000188 | 0.0014879
TiO2 - DT51 - US | 1304 | -31 | 7.5 | 3.4 | spherical | 3.3 | Visible_LIGHT | 90 | 0.813 | 0.60133 | 39.8669 | 0.50861 | 0.0027907 | 0.000188 | 0.0020617
TiO2 - DT51 - US | 1304 | -31 | 7.5 | 3.4 | spherical | 3.3 | Visible_LIGHT | 120 | 0.694 | 0.51331 | 48.6686 | 0.66687 | 0.0034068 | 0.000188 | 0.0025168
TiO2:SiO2 0.1 g/L Fotoc | 317 | 38 | 4 | 5.2 | spherical | 3.2 | UV_LIGHT | 15 | 1.2 | 0.93677 | 6.3232 | 0.065319 | 0.00044262 | 4.695e-05 | 0.0013094
TiO2:SiO2 0.1 g/L Fotoc | 317 | 38 | 4 | 5.2 | spherical | 3.2 | UV_LIGHT | 30 | 1.099 | 0.85792 | 14.2077 | 0.15324 | 0.00099454 | 4.695e-05 | 0.0029421
TiO2:SiO2 0.1 g/L Fotoc | 317 | 38 | 4 | 5.2 | spherical | 3.2 | UV_LIGHT | 60 | 0.818 | 0.63856 | 36.1436 | 0.44853 | 0.0025301 | 4.695e-05 | 0.0074845
TiO2:SiO2 0.1 g/L Fotoc | 317 | 38 | 4 | 5.2 | spherical | 3.2 | UV_LIGHT | 90 | 0.635 | 0.49571 | 50.4294 | 0.70177 | 0.0035301 | 4.695e-05 | 0.010443
TiO2:SiO2 0.1 g/L Fotoc | 317 | 38 | 4 | 5.2 | spherical | 3.2 | UV_LIGHT | 120 | 0.535 | 0.41764 | 58.2358 | 0.87313 | 0.0040765 | 4.695e-05 | 0.012059
TiO2:SiO2 0.1 g/L Fotoc | 317 | 38 | 4 | 5.2 | spherical | 3.2 | Visible_LIGHT | 15 | 1.285 | 0.94485 | 5.5147 | 0.056726 | 0.00038603 | 4.695e-05 | 0.001142
TiO2:SiO2 0.1 g/L Fotoc | 317 | 38 | 4 | 5.2 | spherical | 3.2 | Visible_LIGHT | 30 | 1.195 | 0.87868 | 12.1324 | 0.12934 | 0.00084926 | 4.695e-05 | 0.0025123
TiO2:SiO2 0.1 g/L Fotoc | 317 | 38 | 4 | 5.2 | spherical | 3.2 | Visible_LIGHT | 60 | 0.938 | 0.68971 | 31.0294 | 0.37149 | 0.0021721 | 4.695e-05 | 0.0064254
TiO2:SiO2 0.1 g/L Fotoc | 317 | 38 | 4 | 5.2 | spherical | 3.2 | Visible_LIGHT | 90 | 0.794 | 0.58382 | 41.6176 | 0.53816 | 0.0029132 | 4.695e-05 | 0.008618
TiO2:SiO2 0.1 g/L Fotoc | 317 | 38 | 4 | 5.2 | spherical | 3.2 | Visible_LIGHT | 120 | 0.622 | 0.45735 | 54.2647 | 0.7823 | 0.0037985 | 4.695e-05 | 0.011237
TiO2:SiO2 0.1 g/L TiO2 | 317 | 38 | 4 | 5.2 | spherical | 3.2 | UV_LIGHT | 15 | 1.003 | 0.6946 | 30.5402 | 0.36442 | 0.0021378 | 0.000188 | 0.0015794
TiO2:SiO2 0.1 g/L TiO2 | 317 | 38 | 4 | 5.2 | spherical | 3.2 | UV_LIGHT | 30 | 0.636 | 0.44044 | 55.9557 | 0.81997 | 0.0039169 | 0.000188 | 0.0028937
TiO2:SiO2 0.1 g/L TiO2 | 317 | 38 | 4 | 5.2 | spherical | 3.2 | UV_LIGHT | 60 | 0.122 | 0.084488 | 91.5512 | 2.4712 | 0.0064086 | 0.000188 | 0.0047345
TiO2:SiO2 0.1 g/L TiO2 | 317 | 38 | 4 | 5.2 | spherical | 3.2 | UV_LIGHT | 90 | 0.03 | 0.020776 | 97.9224 | 3.874 | 0.0068546 | 0.000188 | 0.005064
TiO2:SiO2 0.1 g/L TiO2 | 317 | 38 | 4 | 5.2 | spherical | 3.2 | UV_LIGHT | 120 | 0 | 0 | 100 | 0 | 0.007 | 0.000188 | 0.0051714
TiO2:SiO2 0.1 g/L TiO2 | 317 | 38 | 4 | 5.2 | spherical | 3.2 | Visible_LIGHT | 15 | 0.968 | 0.72024 | 27.9762 | 0.32817 | 0.0019583 | 0.000188 | 0.0014468
TiO2:SiO2 0.1 g/L TiO2 | 317 | 38 | 4 | 5.2 | spherical | 3.2 | Visible_LIGHT | 30 | 0.602 | 0.44792 | 55.2083 | 0.80315 | 0.0038646 | 0.000188 | 0.002855
TiO2:SiO2 0.1 g/L TiO2 | 317 | 38 | 4 | 5.2 | spherical | 3.2 | Visible_LIGHT | 60 | 0.108 | 0.080357 | 91.9643 | 2.5213 | 0.0064375 | 0.000188 | 0.0047558
TiO2:SiO2 0.1 g/L TiO2 | 317 | 38 | 4 | 5.2 | spherical | 3.2 | Visible_LIGHT | 90 | 0.05 | 0.037202 | 96.2798 | 3.2914 | 0.0067396 | 0.000188 | 0.004979
TiO2:SiO2 0.1 g/L TiO2 | 317 | 38 | 4 | 5.2 | spherical | 3.2 | Visible_LIGHT | 120 | 0 | 0 | 100 | 0 | 0.007 | 0.000188 | 0.0051714

## 7. Protocol
protocolId | step ID | Name of Protocol | durationValue/Unit | durationUnits | description | Reference (Guideline: OECD_ISO_etc) | Guiding Principle
1 |  | DLS |  |  |  | ISO 22412:2017 Particle size analysis — Dynamic light scattering (DLS). Technical Committee : ISO/TC 24/SC 4 Particle characterization Link: https://www.iso.org/standard/65410.html09/10/2020
| 1 | Sample preparation | 10 | min | Dilution in relevant media in a range between 10 - 100 mg/L
| 2 | Set-up of measurement conditions | 10 | min | Replicates 3, delay time 0, equilibrium time 120 sec, T = 25 °C, Dispersant refractive index and viscosity in stock solution in water: 1.330/0.8872 mPa s; Dispersant refractive index and viscosity in cell media: DMEM 1.345/0.940 mPa s, RPMI 1640 0.800/1.338 mPa s. Reliability of the measurements was controlled by using the automatic attenuator (kept between 6 and 8) and the intercept autocorrelation function (<0.9) as quality criteria, according to the recommendations given in the EUNCL-PCC-001 method.
| 3 | Sample analysis | 15 | min | The size distribution (nm) is reported as intensity-weighted mean diameter derived from the cumulant analysis (Z-average) and is the average of three independent measurements.
2 |  | ELS
| 1 | Sample preparation | 10 | min | Dilution in relevant media in a range between 10 - 100 mg/L
| 2 | Set-up of measurement conditions | 10 | min | Replicates 3, delay time 0, equilibrium time 120 sec, T=25 °C, Dispersant refractive index, viscosity and dielectric constant in stock solution: 1.330/0.8872 mPa s/78.5 (water); Dispersant refractive index, viscosity and dielectric constant in cell media: DMEM 1.345/0.940 mPa s/78, RPMI 1640 0.800/1.338 mPa s/78 (cell media). Reliability of the measurements was controlled by check the phase plot graph.
| 3 | Sample analysis | 15 | min | The data of zeta potential (mV) is derived by electrophoretic mobility using Smoluchowski’s formula and is the average of three independent measurements.
3 |  | UV-vis analysis |  |  |  | No ISO available, Internal protocol.
| 1 | Sample preparation | 10 | min | Dilution in relevant media in a range between 10 - 100 mg/L
| 2 | Set-up of measurement conditions | 10 | min | The background is obtained by auto-calibration using MilliQ water as reference. Spectra of background and samples are acquired from 250 to 850 nm, with a resolution of 1nm.
| 3 | Sample analysis | 15 | min | The spectra are reported in absorbance or in transmittance.
4 |  | Degradation of pollutant: organic dye Rhodamine B (RhB); Pollutant concentration: 0,07g/L; Illumination: UV lamp (Osram 300W), LED UV, visible LED; Mode: batch (lab scale); recirculation (1-6L reactors), direct; Time: 20-180’; Sample: from 200 mL to 6L (volume nanosols), from 3x3 cm to 15x11.5 cm (size for coated product; Type sample: not treated and treated. ISTEC internal protocol |  |  | RhB is a synthetic dye that is commonly use in water remediation due to the easy detection of small concentrations by UV ‐ Vis absorption analysis using a single beam spectrophotometer Hach Lange, DR3900. RhB imparts a deep magenta hue to its water solutions and displays a well ‐ defined absorbance peak at 554 nm. In our experiment, we used 150 mL f 7 ppm RhB solution. The lamp was switched on 60 min before starting the test in order to stabilize the power of emission | In order to evaluate the degradation kinetics, an aliquot of 5 mL was withdrawn, centrifuged for 8 min at 8000 rpm (Digicen 21R – Orto alresg) and analysed at time 15, 30, 60, 90 and 120 minute (Ax) through UV ‐ Vis analysis in the range of 350 – 700 nm. | The photocatalytic tests were carried out using two different light sources: ‐ OSRAM ultra ‐ vitalux 300 W lamp was used as the UV light source, mounted on a lamp holder 20 cm from the bottom of the beaker (UV ‐ A 60 W / m2), arranged in the dark room so that only the photons emitted from the lamp irradiate the suspension of RhB and photocatalyst. The latter was maintained under magnetic stirring at 600 rpm and the temperature during the test was kept constant at 28 °C by a flow of water around the beaker (600 mL / min).
|  | TiO2 nanosol (NAMA41, 6 wt%), called TAC and SiO2 nanosol 40 wt% (Ludox® HS-40) were purchased from Colorobbia (Italy) and Grace Davison (USA), respectively. TiO2 nano-powder DT-51 was purchased from CristalACTiV™, melamine 99%, rhodamine B (dye content ≈95%) target dye, ion excharger Dowex® 50 W x 4 acidic cation excharger resin, hydrogen peroxide - H2O2 (30%), hydrochloric acid - HCl (37 %), sodium nitrate – NaOH (>99 %), potassium permanganate - KMnO4 (99.5 %) and absolute ethanol (> 99.8 %) were purchased from Sigma Aldrich (Italy). Graphite GS25E powder was purchased from Magaldi (Italy). Sulphuric acid - H2SO4 (96%) was purchased from Titolchimica (Italy). |  |  |  |  | SUN2000 solar simulator (ABET technologies) was used as the visible light source, which uses a 150 W Xenon lamp (Fig. 2.3 spectra light). The light beam illuminates an area of 10 x 10 cm with an irradiance of 1000 W / m2 (UV ‐ A 40 W / m2). In this case it was not necessary to control the temperature because it did not vary during the test. As in the previous case, the suspension was kept under magnetic stirring at 600 rpm so that the entire suspension was irradiated with light.
TAC - TiO2: a suspension of commercial nano-Titania (Colorobbia) at 6% wt was used
TiO2:SiO2: starting suspensions commercial nano-Titania (Colorobbia) at 6% wt / nano-Silica (Ludox HS-40) at 40% wt (37 euro / L)
TiO2 DT-51 US: Titania DT-51 commercial
TGO: Titania DT-51 and graphene oxide (GO) as starting materials

## 8. Instrument
instrumentId | instrumentName | model | manufacturerName | manufacturerCity | manufacturerState | manufacturerCountry
1 | DLS | Zetasizer Nano-ZS | Malvern Instruments | Worcestershire |  | UK
2 | ELS | Zetasizer Nano-ZS | Malvern Instruments | Worcestershire |  | UK
3 | OSRAM ultra ‐ vitalux 300 W lamp
4 | SUN2000 solar simulator (ABET technologies)

## 10. Dictionary
Desctiptor | Dictionary | Ontology
NMs_ID | Unique identifier assigned to each nanomaterial sample. | UniqueIdentifier | unique identifier
Hydro_diameter_nm_w_DLS | Hydrodynamic diameter of the nanoparticles measured using Dynamic Light Scattering (DLS), in nanometers (nm) in water. Reflects the effective size of the particle, including any coatings and solvation layers. | npo#NPO_1915 | hydrodynamic diameter
Zeta Potential_mv_w_ELS | Surface charge of nanoparticles measured in millivolts (mV) using Electrophoretic Light Scattering (ELS) in water, indicating colloidal stability. | npo#NPO_1812 | surface charge
Zeta Potential_Ph | The pH at which the zeta potential measurement was performed, as surface charge can vary with pH. | CHMO_0002123 | zeta-potential measurement;zeta-potential studies;zeta potential analysis;zeta potential measurement;zeta-potential analysis;zeta-potential measurements | The measurement of the overall charge a particle acquires in a specific medium. A number of different experimental methods can be used including electrophoretic light scattering and laser Doppler velocimetry.
Isoelectric Point (mV) | The pH value where the zeta potential is zero (net surface charge is neutral), indicating potential aggregation. | EP_ISOELECTRIC_POINT | EP_ISOELECTRIC_POINT;isoelectric point | IEP –Isoelectric point: the pH at which the zeta potential or particle mobility in response to an electric field is zero. Only in the absence of specifically adsorbing ions which change the surface charge compared to the pristine surface, the IEP equals the point of zero charge (PZC) [OECD TG 318]
pH_isoelectr_point | The specific pH corresponding to the isoelectric point, where the nanoparticles are least stable in suspension. | EP_ISOELECTRIC_POINT | EP_ISOELECTRIC_POINT;isoelectric point | IEP –Isoelectric point: the pH at which the zeta potential or particle mobility in response to an electric field is zero. Only in the absence of specifically adsorbing ions which change the surface charge compared to the pristine surface, the IEP equals the point of zero charge (PZC) [OECD TG 318]
Band Gap (eV) | Energy difference between the valence and conduction bands, measured in electron volts (eV), affecting photocatalytic activity. (inported from partners) | PC_PHOTOCATALYTIC_ACTIVITY | PC_PHOTOCATALYTIC_ACTIVITY;photocatalytic activity | IUCLID 4.34: Photocatalytic activity OHT 111: Nanomaterial photocatalytic activity
Light Condition | The type of light used during the photocatalytic experiment (e.g., UV, visible light, or dark conditions). | plosthes.2017-1#5289 | Light
Exposure duration (min) | The time, in minutes, that the sample was exposed to the light source during the photocatalytic experiment. | bao#BAO_0150029 | light source
Reactive Molecule | The specific molecule targeted for degradation or transformation in the photocatalytic process . | CSEO#CSEO_00000824 | Molecule
A absorbance | The absorbance value of the reactive molecule measured at a specific wavelength, indicating concentration. | bao#BAO_0000070 | absorbance | The absorbance of a beam of collimated monochromatic radiation in a homogeneous isotropic medium is proportional to the absorption path length and to the concentration of the absorbing species. Absorbance is a logarithmic measure of the amount of light (at a specific wavelength) that is absorbed when passing through a sample. A= -log10(I/I0), where A is absorbance, I is the intensity of incident light and I0 is the intensity of light transmitted after passing through the sample.
A/A0 (absorbance/initial absorbance) | The ratio of the current absorbance (A) to the initial absorbance (A0), used to monitor the degradation of the reactive molecule over time. | bao#BAO_0000070 | absorbance | The absorbance of a beam of collimated monochromatic radiation in a homogeneous isotropic medium is proportional to the absorption path length and to the concentration of the absorbing species. Absorbance is a logarithmic measure of the amount of light (at a specific wavelength) that is absorbed when passing through a sample. A= -log10(I/I0), where A is absorbance, I is the intensity of incident light and I0 is the intensity of light transmitted after passing through the sample.
Photocatalytic efficiency (Eff %) | The efficiency of the photocatalytic process, expressed as a percentage, indicating how effectively the reactive molecule was degraded. | PATO#PATO_0001029 | efficiency
ln(A0/A) | The natural logarithm of the ratio of initial absorbance (A0) to current absorbance (A), to analyze reaction kinetics. | plosthes.2017-1#2702 | Reaction kinetics
mol of product | mol of product is calculated as the initial concentration of reagent per efficiency reached at the time t (in second) | Thesaurus.owl#C85644 | Initial Concentration;Initial Conc;C0;Initial Concentration | The first measured concentration of a compound in a substance. In pharmacology, the initial concentration is given only for bolus IV models.
mol of active phase | mol of active phase are the moles of the active phase arriving in the RhB solution | CSEO#CSEO_00000416 | Active
TOF (mol product/seconds at 2h)/mol active | Turnover frequency (TOF), representing the number of moles of product formed per second per mole of active phase after 2 hours of reaction, indicating catalytic efficiency. | SBO_0000302 | catalytic efficiency | Constant representing the actual efficiency of an enzyme, taking into account its microscopic catalytic activity and the rates of substrate binding and dissociation.<math xmlns="http://www.w3.org/1998/Math/MathML"> <lambda> <bvar><ci definitionURL="http://biomodels.net/SBO/#SBO:0000025">kcat</ci></bvar> <bvar><ci definitionURL="http://biomodels.net/SBO/#SBO:0000027">Km</ci></bvar> <apply> <divide/> <ci>kcat</ci> <ci>Km</ci> </apply> </lambda> </math>¦Created on January 20 2007 by Nicolas Le Novere